## SEU Criteria Evaluation
SEU Criteria Evaluation |  | List of Significant Energy Users (SEUs)
| Define SEU Selection Criteria | [7 empty] | Date last updated:
| List the selection criteria you will use to evaluate and identify significant energy users (SEUs) in the yellow cells. Examples of common selection criteria are provided to the right, but you should think about which make the most sense for your facility. |  | SEU Selection Criteria
List all SEU Selection Criteria that will be used to identify significant energy users below.
| You may only have one criteria (e.g., any equipment or system that consumes more than 10% of total annual energy consumption). In general it is recommended to not have too many to keep things simple unless there are specific |  | There is no defined number of criteria that should be included, but it is recommended to not have more than 1-3 unless special circumstances require it. | [7 empty] | Examples of SEU Selection Criteria
|  | 1 | Criteria 1 | [7 empty] | System or equipment that individually consume more than x% of total energy
| Evaluate Energy Users against SEU Selection Criteria | 2 | Criteria 2 | [7 empty] | Systems or equipment that combined make up at least 60% of total energy consumption
| Copy the selection criteria identified in the yellow cells into the column headers of the Evaluation of Energy Users table. | 3 | Criteria 3 | [7 empty] | Systems or equipment where energy consumption can vary significantly depending on settings, state of repair, or operator behaviour
|  | 4 | Criteria 4
| List all energy-using equipment or systems in your facility in the first column. Equipment that works together to perform one function and are controlled together should be lumped together. | 5 | Criteria 5 | [7 empty] | Systems or equipment that have submetering available
|  | 6 | Criteria 6 | [7 empty] | Systems under organizational control or operation
For each equipment/system, indicate if it meets the SEU evaluation criteria.
| The "Included as SEU?" column indicates if the equipment has been included in the SEU Summary tab. |  | Evaluation of Energy Users against SEU Criteria
In the table below, create heading for each SEU Selection Criteria and then list energy-using equipment or systems and indicate whether or not they meet the SEU Selection Criteria. Copy and paste the criteria names chosen in the above table and delete unused criteria columns.
|  |  | Equipment or System | Included as SEU? | Criteria 1 | Criteria 2 | Criteria 3 | Criteria 4 | Criteria 5 | Criteria 6
Example SEU: Lighting
Note on N15: If the equipment or system meets all critieria, but is not yet listed in the SEU Summary tab, it will be highlighted yellow.

## SEU Summary
Significant Energy User Details
In this table, select the Significant Energy Users identified in the SEU Criteria Evaluation table. Then fill out each of the columns to provide a summary and status of SEU management.
Instructions
If an equipment/system meets the SEU evaluation criteria for inclusion as an SEU (as per the SEU Criteria Evaluation tab), select it from the drop-down list in the "Significant Energy User" column. Note: it must be listed in the SEU Criteria Evaluation table to show up in the drop-down list.
Complete the rest of the columns to provide a summary of the SEUs and the status of their management plans.
SEU Summary Fields
Description | Provide a description of the equipment/system including any relevant boundaries.
SEU Annual Energy Consumption | Provide the measured (or estimated) annual energy consumption of the SEU.
Energy Units | Provide the units of annual energy consumption. (e.g. kWh/year, m3/year, GJ/year)
Have EnPI(s) been established? | Indicate whether or not Energy Performance Indicators (ENPIs) have been established for this SEU.
Are current data collection sufficient to monitor EnPIs? | Indicate whether or not sufficient metering or data collection is in place to monitor the EnPIs for this SEU.
Is there a data collection plan for this SEU? | Indicate whether or not the data collection plan for this SEU has been completed (as part of the SEU Management Plan).
Have EnPI baselines for this SEU been established? | Indicate whether or not EnPI baselines have been measured and established for use as a reference point.
Have SOPs been developed to ensure efficient operation of the SEU? | Indicate whether or not all SOPs needed to ensure efficient operation have been developed (e.g. operations, maintenance, etc).
Date SEU Added | Indicate the date that this equipment/system was added to the list of SEUs.
Who added the SEU | Indicate who was responsible for adding this equipment/system to the list of SEUs.
Note: An example is highlighted in yellow to show specifically what a completed SEU summary row should look like
Significant Energy User | Description | SEU annual energy consumption | Energy units | Have EnPI(s) been established? | Are current data collection systems sufficient to monitor EnPIs? | Is there a data collection plan for this SEU? | Have EnPI baselines for this SEU been established? | Have SOPs been developed to ensure efficient operation of the SEU? | Date SEU Added | Who added the SEU
Example SEU: Lighting | All lighting within the facility | 550 | MWH | Yes | Yes | Improvement Underway | No | No | 2023-10-20 | John Smith
Note on A20: Dropdown list options are based off of the equipment/systems listed in the SEU Criteria Evaluation

## SEU Management Plan TEMPLATE
[SEU NAME] | [5 empty] | Instructions
Management Plan | [5 empty] | Copy this TEMPLATE for each SEU
|  |  | Date SEU plan last updated: | Date |  | Create a copy of the SEU Management Plan TEMPLATE for each SEU identified in the SEU Summary tab.
| Responsibility |  |  |  |  | Rename the tab to indicate the SEU (e.g., Chiller A4 Management Plan)
|  | Who is responsible for this SEU Management Plan? | Name |  |  | Change the [SEU NAME] at the top of the sheet to indicate the SEU.
SEU Management Plan Fields
| Variables affecting SEU energy consumption |  |  |  |  | Responsibility | Indicate who is responsible for updating and ensuring compliance with the SEU Management Plan.
| List variables with significant affect on the energy consumption of this SEU (e.g., weather, production volume, occupancy, etc.). |  |  |  |  | Variables affecting SEU energy consumption | Identify independent variables that influence how much energy the SEU consumes.
[6 empty] | People affecting SEU energy consumption | Identify people who can influence how much energy the SEU consumes through operation, maintenance, or access to controls or setpoints.
| Factor | Variable | Description of Impact |  |  | Energy Performance Indicators (EnPIs) | Identify the EnPIs that have been developed for the SEU in order to assess performance and monitor if the SEU is operating efficiently. Include information of baseline and targets for the EnPI (e.g. target thresholds, control bands, reductions from baseline, etc.)
[6 empty] | Data Collection Plan | Provide details on how data required to monitor EnPIs will be collected and stored and who is responsible.
[6 empty] | Data Analysis | Provide details on how data will be analysed to inform EnPIs and who is responsible.
[6 empty] | Data Reporting | Provide details on how EnPIs will be evaluated against targets and reporting to people who can influence energy consumption of the SEU including who is responsible.
[6 empty] | Standard Operating Procedures (SOPs) | List all SOPs related to the SEU that provide guidance on how to ensure the SEU is operating efficiently including SOPs related to operations, setting or set-points, maintenance, or other activities.
| Note: For additional guidance see the EXAMPLE SEU Management Plan sheet |  |  |  |  | Corrective Actions | Keep a list of any instances where EnPIs were outside accepted ranges and corrective action was taken to identify ongoing or repeated issues.
People affecting SEU energy consumption
List people who are able to affect the energy consumption of this SEU (e.g., operators, maintenance, or others with access to controls or set points).
| Name | Role | Department/Team
Energy Performance Indicators (EnPIs)
Identify EnPIs that will be used to monitor and assess energy performance. These may be absolute values or normalized against one or more variables that impact energy consumption.
| EnPI | EnPI Units | EnPI Baseline | EnPI Target
Data Collection Plan
| Location of SEU data collection and analysis workbook: | URL or file path
| Data | Data Source | Data Time Resolution | Frequency of Data Collection | Where is the data stored? | How will it be ensured that data is accurate and repeatable? | Responsible Person | Other Notes on Data Collection
Data Analysis
In the table below, identify what analysis is required to calculate ENPIs.
| EnPI | Analysis Required | Frequency of Analysis | Location of Analysis Guidance | Responsible Person
Data Reporting
In the table below identify data reports that will include EnPIs. These reports should be used to communicate EnPI status to key personnel who affect SEU energy consumption (listed above) to review performance against EnPI targets or controls.
| Data Report | Audience | Reporting Frequency | EnPIs Included | Location of Reporting Templates or Guidance | Responsible Person
Standard Operating Procedures (SOPs)
List any SOPs related to this SEU, including procedures for operation, maintenance, or other activities.
| SOP Name | Description | Audience/Users | Location | Responsible Person
Corrective Actions
List any instances where EnPIs were not met and describe the corrective action that was taken.
| Date | EnPI out of range | Why was the EnPI not met? | What corrective action was taken?

## EXAMPLE SEU Management Plan
Air Compressor
Management Plan
Responsibility
|  | Who is responsible for this SEU Management Plan? | J.D. Salinger
|  | Last update to this SEU Management Plan: | 2023-05-14
Variables affecting SEU energy consumption
List variables with significant affect on the energy consumption of this SEU (e.g., weather, production volume, occupancy, etc.).
| Factor | Variable | Description of Impact
| Compressed air demand | cfm | The amount of compressed air used in the facility is the main driver of how much electricity is consumed by the compressor.
People affecting SEU energy consumption
List people who are able to affect the energy consumption of this SEU (e.g., operators, maintenance, or others with access to controls or set points).
| Name | Role | Department/Team
| Beckah Bower | Maintenance Supervisor | Maintenance
| Simeon Randell | Maintenance Support | Maintenance
| Bronson Munson | Team Lead | Engineering
| Selena Babic | Team Lead | Operations
Energy Performance Indicators (EnPIs)
Identify EnPIs that will be used to monitor and assess energy performance. These may be absolute values or normalized against one or more variables that impact energy consumption.
| EnPI | EnPI Units | EnPI Baseline | EnPI Target
| Compressor specific power | kW/cfm | 21 kW/cfm | 18 kW/cfm
| Compressed air leak rate (outside production hours) | cfm | 123 cfm | <90 cfm
Data Collection Plan
| Location of SEU data collection and analysis workbook: | URL or file path
| Data | Data Source | Data Time Resolution | Frequency of Data Collection | Where is the data stored? | How will it be ensured that data is accurate and repeatable? | Responsible Person | Other Notes on Data Collection
| Electrical demand interval data | EMIS | 5 minute | Real time | EMIS data trends log | Data is reviewed weekly to identify anomalies. Meters checked annually for calibration. | Zofija Sabbadin
| Total compressor flow | EMIS | 5 minutes | Real time | EMIS data trends log | Data is reviewed weekly to identify anomalies. Meters checked annually for calibration. | Zofija Sabbadin
Data Analysis
In the table below, identify what analysis is required to calculate EnPIs.
| EnPI | Analysis Required | Frequency of Analysis | Location of Analysis Guidance | Responsible Person
| Compressor specific power | Ratio of average electrical demand and average flow. | Weekly | Company>Energy Management>Monitoring and Reporting | Zofija Sabbadin
| Compressed air leak rate | Average flow during non-production hours | Weekly | Company>Energy Management>Monitoring and Reporting | Zofija Sabbadin
Data Reporting
In the table below identify data reports that will include EnPIs. These reports should be used to communicate EnPI status to key personnel who affect SEU energy consumption (listed above) to review performance against EnPI targets or controls.
| Data Report | Audience | Reporting Frequency | EnPIs Included | Location of Reporting Templates or Guidance | Responsible Person
| Compressor Status Update | Maintenance | Weekly during Monday maintenance scrum | Specific Power and Leak Rate | Company>Energy Management>Monitoring and Reporting | Zofija Sabbadin
Standard Operating Procedures (SOPs)
List any SOPs related to this SEU, including procedures for operation, maintenance, or other activities.
| SOP Name | Description | Audience/Users | Location | Responsible Person
| Compressed Air Leak Detection and Repair Procedures | Process for compressed air leak detection, repair, and tracking. | Maintenance team | Company > Maintenance > Maintenance SOPs | Beckah Bower
| Air Compressor Operations | Standardized setpoints, control strategy, and maintenance schedule. | Engineering Team, Maintenane team | Company > Engineering > Equipment and Systems | Bronson Munson
Corrective Actions
List any instances where EnPIs were not met and describe the corrective action that was taken.
| Date | EnPI out of range | Why was the EnPI not met? | What corrective action was taken?
| 2023-03-24 | Compressed air leak rate | Seal on press A4 failed | Replaced seal on press A4
| 2023-01-14 | Compressed air specific power | Controller diconnected during maintenance and was not reconnected, system defaulted to pressure band control. | Controller reconnected and verified as operational. Compressor maintenance checklist updated to ensure controller operational.